SAMPLE SAFETY INSPECTION CHECKLIST

NAME OF AGENCY/OFFICE:   _____________________________________________________________

Area(s) Inspected: _____________________________Inspected by:  _______________________Date:____________

| item |  | Yes | No | corrective action – date |
| --- | --- | --- | --- | --- |
| 1. | Is there litter or spilled liquid on the floor? |  |  |  |
| 2. | Are floor surfaces chipped: does carpeting show worn spots or holes? |  |  |  |
| 3. | Are warning signs posted near cleaning areas, repair work or redecorating efforts? |  |  |  |
| 4. | Are aisles free of boxes, wastebaskets, chairs, and other obstacles that impede traffic? |  |  |  |
| 5. | Are restrooms kept clean and floors dry? |  |  |  |
| 6. | Do cords present a tripping hazard? |  |  |  |
| 7. | Do cords look frayed? |  |  |  |
| 8. | Are cords draped over hot pipes and/or appliances? |  |  |  |
| 9. | Are flimsy extension cords in use? |  |  |  |
| 10. | Are all appliances connected with three-pronged plugs? |  |  |  |
| 11. | Are electrical outlet boxes or bonnets exposed so that they present a hazard? |  |  |  |
| 12. | Are cover plates for electrical switches or receptacles cracked or broken? |  |  |  |
| 13. | Do employees stand on chairs, desks, boxes, drawers, or other improvised ladders? |  |  |  |
| 14. | Do employees lean way back in chairs with their feet off the floor? |  |  |  |
| 15. | Do employees put tops on cups of coffee or other liquids while carrying them through the office? |  |  |  |
| 16. | Do employees run in the office? |  |  |  |
| 17. | Are stairwells well lit? |  |  |  |
| 18. | Are stairway handrails, treads and/or risers in good condition? |  |  |  |
| 19. | Are stairs free of litter, spills or clutter? |  |  |  |
| 20. | Are desk or file drawers left open? |  |  |  |
| 21. | Are files, lockers, cabinets, and bookcases bolted securely? |  |  |  |
| 22. | Is more than one file drawer open at once? |  |  |  |
| 23. | Are files top-heavy with empty drawers at the bottom and full drawers on top? |  |  |  |
| 24. | Are transparent glass doors marked so they can be seen? |  |  |  |
| 25. | Must employees step up or down to go through a doorway? If so, is a warning sign posted? |  |  |  |
| 26. | Do self-closing doors have too much spring tension? |  |  |  |
| 27. | Is machinery turned off when not in use? |  |  |  |
| 28. | Do employees wear dangling jewelry or clothing, such as a men’s necktie, around machinery? |  |  |  |
| 29. | Are employees using spike files (a piece of metal about four (4) to six (6) inches in length that is attached to a small board and is designed to hold papers, especially receipts)? |  |  |  |
| 30. | Are pencils kept in pencil holders with the points down? |  |  |  |
| 31. | Are paper cutters kept in a safe location with the blade secured in the down or closed position? |  |  |  |
| 32. | Are razor blades or pins kept with paper clips? |  |  |  |
| 33. | Are fire exits clearly marked? |  |  |  |
| 34. | Are fire extinguisher locations marked in such a way that they are visible from a distance? |  |  |  |
| 35. | Are fire extinguisher tags current? |  |  |  |
| 36. | Are fire extinguishers readily available? |  |  |  |
| 37. | Do all employees know the locations of the exits, alarms, and extinguishers? |  |  |  |
| 38. | Are nonflammable fluids used whenever possible? |  |  |  |
| 39. | Are flammable liquids/fluids stored in approved containers? |  |  |  |
| 40. | Are emergency numbers for medical, fire, law enforcement/security and ambulance posted? |  |  |  |
| 41. | Are fire drills conducted frequently? |  |  |  |
| 42. | Do designated smoking areas have ashtrays? |  |  |  |
| 43. | Are combustible materials stored near machinery or heat sources? |  |  |  |
| 44. | Are features of fire protection, such as sprinklers, fire alarms and hoses, kept clean and in good working order? |  |  |  |
| 45. | Are the tags on the features of fire protection current? |  |  |  |
| 46. | Are doors to enclosed stairwells kept closed at all times? |  |  |  |
| 47. | Are company parking lots well lit and clearly marked? |  |  |  |
| 48. | Is medical help readily available? |  |  |  |
| 49. | Are adequate first-aid supplies available? |  |  |  |
| 50. | Are all incidents/accidents properly reported, investigated and documented? |  |  |  |
| MISCELLANEOUS: |  |  |  |  |
| 51. | Are Safety Inspections conducted in accordance with the time frame specified in the agency’s loss prevention manual? |  |  |  |
| 52. | Are Safety Meetings conducted in accordance with the time frame specified in the agency’s loss prevention manual? |  |  |  |
| 53. | Are Hazard Control Logs posted throughout the workplace? |  |  |  |
| 54. | Is the Worker’s Compensation Notice of Compliance posted? |  |  |  |
| 55. | Is the safety bulletin board current? |  |  |  |
| 56. | Do agency drivers use safety belts? |  |  |  |
| 57. | Are there items carried over from previous reports? |  |  |  |

OVERALL EVALUATION:

| EXCELLENT |  |  |
| --- | --- | --- |
| SATISFACTORY |  |  |
| UNSATISFACTORY |  |  |